# Chinhoyi University of Technology ICT Chair Response

### 1. How do you currently record and manage the locations of cables, ducts, and other telecom assets?

The university campus has fibre links between buildings that were installed at different times by different contractors. Records are a mixture of as-built drawings held by the estates department and diagrams kept by ICT services. There is no single consolidated system.

### 2. What are the biggest challenges you face when locating or maintaining underground infrastructure?

Institutional memory. Documentation from the older installations is incomplete, and when experienced staff leave, knowledge of where cables actually run leaves with them. Ongoing construction on campus is a constant risk to existing services.

### 3. What information do you record for each underground asset (e.g., GPS location, depth, photos, installation date)?

Installation dates and building-to-building diagrams. GPS coordinates and depth are generally not recorded, and photos exist only for recent projects.

### 4. What tools or software do your field technicians currently use when working on underground infrastructure?

Basic cable testers and tone tracers. There is no specialized underground mapping equipment on campus.

### 5. Can your technicians access infrastructure maps and records while working offline?

The records sit on shared drives, so technically yes if they are downloaded in advance, but there is no purpose-built offline tool.

### 6. Have you experienced incidents where inaccurate or missing infrastructure records caused delays or cable damage? If so, what happened?

Yes. During construction of a new building, contractors cut a fibre link because the route was not on the drawings they were given. Parts of the campus lost network access for several days during a teaching week.

### 7. Which features would be most valuable in a mobile underground infrastructure mapping system?

Simple GPS-based recording of routes and manholes, photo attachments, and a searchable history. For a university, affordability and ease of use matter more than advanced features.

### 8. Would your organization find value in AI-assisted features such as automatic asset identification from photos, predictive maintenance, or automatic digitization of engineering drawings?

Yes, and beyond using such features we would be interested in research collaboration. Automatic digitization of old drawings and image-based asset identification are exactly the kind of applied AI problems our department works on.

### 9. If you could improve one aspect of your current underground infrastructure management process, what would it be?

Consolidating everything into one accurate, maintained record of campus infrastructure that survives staff changes.

End of Response