# Midlands State University IT Technician Response

### 1. How do you currently record and manage the locations of cables, ducts, and other telecom assets?

We manage the networks across the university's campuses, with fibre between buildings on the main campus. Records are network diagrams and spreadsheets maintained by the network team, while inter-campus links are leased from service providers.

### 2. What are the biggest challenges you face when locating or maintaining underground infrastructure?

The campuses have grown quickly and documentation has not always kept up. Some fibre routes were installed as part of building projects and the as-built drawings were never properly handed over.

### 3. What information do you record for each underground asset (e.g., GPS location, depth, photos, installation date)?

Link diagrams, core allocations and installation dates. Physical route details such as GPS positions or depth are not systematically recorded.

### 4. What tools or software do your field technicians currently use when working on underground infrastructure?

Cable testers, a fusion splicer and an OTDR shared across the team. Documentation lives on a shared drive.

### 5. Can your technicians access infrastructure maps and records while working offline?

There is no dedicated offline system. Technicians save copies to laptops or phones before going into the field.

### 6. Have you experienced incidents where inaccurate or missing infrastructure records caused delays or cable damage? If so, what happened?

Yes. Groundworks for a new student residence damaged a fibre route that was not shown on the plans given to the contractor. Parts of the campus were offline during an examination period, which caused serious disruption.

### 7. Which features would be most valuable in a mobile underground infrastructure mapping system?

GPS mapping of routes and manholes, offline access, and photo records so that a technician who has never seen a route before can still find and identify the assets.

### 8. Would your organization find value in AI-assisted features such as automatic asset identification from photos, predictive maintenance, or automatic digitization of engineering drawings?

Yes. Predictive maintenance and automatic digitization of drawings would both be useful to us.

### 9. If you could improve one aspect of your current underground infrastructure management process, what would it be?

A single up-to-date map of all campus infrastructure that every technician can access from the field.

End of Response